MINUTES OF THE Urban Planning Committee Meeting

HELD AT THE Council Chamber, Moreland Civic Centre, 90 Bell Street, Coburg

ON Wednesday 23 May 2018

The Acting Group Manager City Development opened the meeting at 6.30 pm and advised that Cr Martin had submitted an apology.

Appointment of Interim Chairperson

The Acting Group Manager City Development called for nominations for an Interim Chairperson.

Cr Irfanli moved, Cr Kavanagh seconded that -

Cr Carli Hannan be appointed as Interim Chairperson.

There being no other nominations, Cr Carli Hannan assumed the Chair.

Cr Carli Hannan acknowledged the traditional owners, the Wurundjeri people and paid respects to their Elders, past and present, and the Elders from other communities who may present. The Carli Hannan acknowledged that currently many Aboriginal and Torres Strait Islander people have made Moreland home and in doing so have contributed to the positive, rich diversity of this municipality.

| Present: | Time in | Time out |
| --- | --- | --- |
| Cr Dale Martin (Chair) | Apology |  |
| Cr Natalie Abboud | 6.30 pm | 8.42 pm |
| Cr Sue Bolton | 6.30 pm | 8.42 pm |
| Cr Annalivia Carli Hannan | 6.30 pm | 8.42 pm |
| Cr Helen Davidson | 6.30 pm | 8.42 pm |
| Cr Ali Irfanli | 6.30 pm | 8.42 pm |
| Cr John Kavanagh | 6.30 pm | 8.42 pm |
| Cr Mark Riley | 6.30 pm | 8.42 pm |
| Cr Lambros Tapinos | 6.30 pm | 8.42 pm |
| Cr Oscar Yildiz JP | 6.30 pm | 8.40 pm |

APOLOGIES:

Cr Martin.

OFFICERS:

Acting Group Manager City Development – Narelle Jennings

Acting Unit Manager Urban Planning – Mark Hughes

Planning Co-ordinator – Robert Shatford

Principal Urban Planner – Andy Wilson

Unit Manager Governance – Sally Curran

Governance Officer – Saskia Hunter

CONFIRMATION OF MINUTES:

Resolution Cr Davidson moved, Cr Riley seconded - The minutes of the Urban Planning Committee Meeting held on 26 April 2018 be confirmed. Carried

INTERESTS AND/OR CONFLICT OF INTERESTS:

Nil.

COMMITTEE REPORTS:

DED31/18 389 - 395 Victoria Street, Brunswick - Planning Permit Application MPS/2017/149 (D18/103358)

The application seeks approval for the construction of buildings and works for an extension to the existing warehouse and a reduction in the standard car parking requirement. The application was advertised and 19 objections were received, including 4 objections from a duplicate address. The main issues raised in objections include the height of the extension, overshadowing, loss of street trees, creation of vehicle access, lack of car parking, existing car parking issues, existing noise, dust, fumes and amenity issues. A Planning Information and Discussion meeting was held on 31 October 2017. Following this meeting the applicant committed to amending plans. The amended plans were advertised on 5 March 2018. Two additional objections were received. The amended plans include a reduction of the width of the Henkel Street vehicle access door and crossover, the rearrangement of car spaces in the Victoria Street front setback to enable deliveries and allocation of one disability car space; notation of rain harvesting tanks, three secure bicycles racks within the warehouse and three undercover bicycle racks adjoining the street, and a new high performing dust collector appliance located within the warehouse. The report details the assessment of the application against the policies and provisions of the Moreland Planning Scheme. The key planning considerations are: -  Is the built form appropriate at the residential interface? -  Has appropriate landscaping been provided? -  Are the existing use rights of the existing use preserved by the application? -  Has adequate car and bicycle parking been provided? -  Are adequate loading/unloading facilities provided? The proposal is considered to respond to the buildings and works provisions of the Moreland Planning Scheme in the Industrial 3 Zone. The additional floor area provided by the warehouse extension will not result in additional traffic or parking congestion associated with the existing use of the site or unreasonably impact the adjoining residential land. Conditions included in the recommendation will result in an improved transition to residential properties and ensure the retention of street trees. It is recommended that a Notice of Decision to Grant a Planning Permit be issued for the proposal.

- Officer Recommendation That a Notice of Decision to Grant Planning Permit No. MPS/2017/149 be issued for Buildings and works for an extension to the existing warehouse and a reduction in the standard car parking requirement at 389-395 Victoria Street, Brunswick, subject to the following conditions: Amended plans 1. Before the development commences, amended plans to the satisfaction of the Responsible Authority must be submitted to and approved by the Responsible Authority. When approved, the plans will be endorsed and will then form part of the permit. The plans must be drawn to scale with dimensions and must be generally in accordance with the plans advertised 5 March 2018, but modified to show: a) The building setback from the northern boundary a minimum distance of 5.56 metres to align with the western wall of the dwelling at 39 Henkel Street (approved development of 54 Talbot Street) for a distance of at least 5 metres at the north-east corner of the site. The area of provided from the setbacks must accommodate permeable surfaces and landscaping, which must be designed in accordance with the landscape plan required by condition 3 of this permit and include at least one small canopy tree. b) The retention of the street trees fronting Henkel Street to the east side of the existing crossover and on Talbot Street (north of 59 Talbot Street), and provision of Tree Protection Zones (TPZ). The plans must include a notation that the retention measures for works within the TPZ of the trees along the Henkel Street boundary and Talbot Street (east of the entry gate) will be in accordance with the development impact assessment report as required by condition 4). c) The works to the Henkel Street crossover noted to ensure no change to the east edge of the crossing, and to dimension the crossover as 3.6 metres wide at the property boundary from the east edge. The west edge of the crossing is to include a 1 metre straight splay on the west edge from the property boundary to the kerb. d) The notation for the reconfigured existing eastern vehicle crossing in Victoria Street changed to state the west portion of the crossing is to be deleted and the crossing narrowed to match the eastern end of the picket fence. e) The veranda/ balcony posts to the east side of the DDA compliant car space (disabled car space) modified to allow clearance from the car door so that no post adjoins the car space, except corner posts. f) Removal of reference to options in relation to car parking spaces 5 to 10 and show them as individual spaces as shown on the plan as ‘option 1’. g) The height of the vehicle entry door to Henkel Street reduced in height to a maximum 2.4 metres. h) A mural is to be shown painted/produced on the Talbot Street loading access door (similar in size to the area of the door) it is to be commissioned by a local artist. i) A landscape plan in accordance with condition 3 of this permit. j) Any modifications arising from the amended Sustainable Design Assessment (condition 8 of this permit). k) A schedule of all proposed exterior decorations, materials, finishes and colours, including colour samples. Secondary consent 2. The development as shown on the endorsed plans must not be altered without the written consent of the Responsible Authority. This does not apply to any exemption specified in Clauses 62.02-1 and 62.02-2 of the Moreland Planning Scheme unless specifically noted as a permit condition. Landscaping 3. Prior to the commencement of any development works, a landscape plan must be submitted to and approved by the Responsible Authority. The landscape plan must provide the following: a) Identification of any existing trees and vegetation on site and adjoining land proposed to be removed and retained, including the tree protection zones. Vegetation retainment must include strategies for the retainment (i.e. barriers and signage during the construction process). b) A schedule of all proposed trees, shrubs and ground covers (including numbers, size at planting, size at maturity and botanical names), as well as sealed and paved surfaces. Including a replacement street tree to the west of the crossover in Henkel Street and a small canopy tree within the street setback in the north-east corner of the site. The flora selection and landscape design should be drought tolerant and based on species selection recommended in the Moreland Landscape Guidelines 2009. c) Details of the location and type of all paved and sealed areas. Extensive hard surfaces are not supported. The adoption of porous/permeable paving, rain gardens and other water sensitive urban design features is encouraged. 4. Prior to the endorsement of plans, a development impact assessment report, prepared by an arborist, including recommendations as to the construction methodology required to preserve the health of the adjoining street trees adjoining the site on Henkel Street (east of the crossover) and Talbot Street, to the satisfaction of the Responsible Authority. When it is approved, the report will form part of the endorsed plans. Construction must be in accordance with the approved report. 5. Prior to the occupation of the development, all landscaping works must be completed and maintained in accordance with the approved and endorsed landscape drawing to the satisfaction of the Responsible Authority. 6. Prior to development commencing (including any demolition, excavations, tree removal, delivery of building/construction materials and/or temporary buildings), all council trees marked on the endorsed plans as being retained must have a Tree Protection Zone (TPZ) to the satisfaction of the Responsible Authority. The fencing associated with this TPZ must meet the following requirements: a) Extent The tree protection fencing (TPF) is to be provided to the extent of the identified TPZ. If works are shown on any endorsed plan of this permit within the confines of the calculated TPZ, then the TPF must be taken in to only the minimum amount necessary to allow the works to be completed. b) Fencing All tree protection fencing required by this permit must be erected in accordance with the approved TPZ. The TPF must be erected to form a visual and physical barrier and must be a minimum height of 1.5 metres and of chain mesh or similar fence with 1.8 metre support posts (e.g. treated pine or similar) every 3-4 metres, including a top line of high visibility plastic hazard tape erected around the perimeter of the fence. c) Signage Fixed signs are to be provided on all visible sides of the TPF clearly stating ‘Tree Protection Zone - No Entry’, to the satisfaction of the Responsible Authority. d) Irrigation The area within the TPZ and TPF must be irrigated during the summer months with 1 litre of clean water for every 1cm of trunk girth measured at the soil/trunk interface on a weekly basis. e) Provision of Services All services (including water, electricity, gas and telephone) should be installed underground, and located outside of any TPZ, wherever practically possible. If underground services are to be routed within an established TPZ, they must be installed by directional boring with the top of the bore to be a minimum depth of 600mm below the existing grade, to the satisfaction of the Responsible Authority. Bore pits must be located outside of the TPZ or manually excavated without damage to roots, to the satisfaction of the Responsible Authority. f) Access to TPZ Should temporary access be necessary within the Tree Protection Zone during the period of construction, the Responsible Authority must be informed prior to relocating the fence (as it may be necessary to undertake additional root protection measures such as bridging over with timber). 7. Prior to the commencement of occupation or at a later date with the prior written consent of the Responsible Authority, the owner must pay Council to remove and provide an advanced replacement tree in an appropriate location in a nature strip nearby in accordance with the Moreland Street Landscape Strategy for each street tree removed for the vehicle crossing, to the satisfaction of the Responsible Authority. Sustainable Design assessment 8. Prior to the endorsement of plans, a Sustainability Design Assessment (SDA) must be submitted to and approved to the satisfaction by the Responsible Authority. The Sustainability Design Assessment (SDA) must demonstrate a best practice standard of environmentally sustainable design and be generally in accordance with the Sustainable Design Assessment by Domain Energy Ratings including BESS Report(project number 8911) and STORM report (Transaction ID 492783) received 29/08/2017 (Trim D17/289459) but modified to include the following changes: a) Bicycle parking (50% above the minimum required in the planning scheme). b) ‘Publish’ the BESS report (so it is no longer in ‘draft’ format). c) Demonstrate best practice Urban Ecology (i.e. include light coloured roofing material). The amended report must achieve an overall score in the BESS tool of 50% or higher, and have ‘pass’ rates of 50% for the ‘Energy’, ‘Water’ and ‘IEQ’ categories and 100% for the ‘Stormwater’ category. When submitted and approved to the satisfaction of the Responsible Authority, the SMP and associated notated plans will be endorsed to form part of this permit. Where alternative ESD initiatives are proposed to those specified in this condition, the Responsible Authority may vary the requirements of this condition at its discretion, subject to the development achieving equivalent (or greater) ESD outcomes in association with the development. 9. All works must be undertaken in accordance with the endorsed Sustainability Design Assessment (SDA) to the satisfaction of the Responsible Authority. No alterations to the SDA may occur without the prior written consent of the Responsible Authority. Development Contribution Plan Levy 10. Prior to the issue of a Building Permit in relation to the development approved by this permit, a Development Infrastructure Levy must be paid to Moreland City Council in accordance with the approved Development Contributions Plan. The Development Infrastructure Levy is charged per 100 square metres of leasable floor space. If an application for subdivision of the land in accordance with the development approved by this permit is submitted to Council, payment of the Development Infrastructure Levy can be delayed to a date being whichever is the sooner of the following:  A maximum of 12 months from the date of issue of the Building Permit; or  Prior to the issue of a Statement of Compliance for the subdivision. When a staged subdivision is sought, the Development Infrastructure Levy must be paid prior to the issue of a Statement of Compliance for each stage of subdivision in accordance with a Schedule of Development Contributions approved as part of the subdivision. General conditions 11. The doors to the warehouse from Talbot Street and Henkel Street must only be open when they are in use, and otherwise are to remain closed. The Henkel Street vehicle access door or adjoining wall is to contain clear signage that there is no access to delivery vehicles from that entry. 12. Prior to the occupation of the development, any Council or service authority pole or pit within 1 metre of a proposed vehicle crossing, including the 1 metre splays on the crossing, must be relocated or modified at the expense of the permit holder to the satisfaction of the Responsible Authority and the relevant service authority. 13. The area set aside for the parking of vehicles and access lanes shown on the endorsed plan must to the satisfaction of the Responsible Authority:  Be completed prior to the occupation of the development (extension).  Be maintained.  Be properly formed to such levels that it can be used according to the endorsed plan.  Have the boundaries of all vehicle parking spaces clearly marked on the ground to accord with the endorsed plan.  Not be used for any other purpose other than the parking of vehicles. 14. Prior to the occupation of the development, all boundary walls must be constructed, cleaned and finished to the satisfaction of the Responsible Authority. Time limit 15. This permit will expire if one of the following circumstances applies: a) The development is not commenced within 2 years from the date of issue of this permit. b) The development is not completed within 4 years from the date of issue of this permit. The Responsible Authority may extend the period referred to if a request is made in writing before the permit expires or:  Within 6 months after the permit expires to extend the commencement date.  Within 12 months after the permit expires to extend the completion date of the development if the development has lawfully commenced. Notes: These notes are for information only and do not constitute part of this notice of decision or conditions of this notice of decision. Note 1: Further approvals are required from Council’s City Infrastructure Department who can be contacted on 8311 4300 for any works beyond the boundaries of the property. Planting and other vegetative works proposed on road reserves can be discussed with Council’s Open Space Unit on 8311 4300. Note 2: Unless no permit is required under the Moreland Planning Scheme, no sign must be constructed or displayed on the land without a further planning permit. - Note 3: Noise levels for the site will be regulated by the State Environment Protection Policy (Control of noise from commerce, industry and trade) No. N-1.

- Resolution - Cr Riley moved, Cr Irfanli seconded - - The Urban Planning Committee resolve: - That a Notice of Decision to Grant Planning Permit No. MPS/2017/149 be issued for Buildings and works for an extension to the existing warehouse and a reduction in the standard car parking requirement at 389-395 Victoria Street, Brunswick, subject to the following conditions: - Amended plans - Before the development commences, amended plans to the satisfaction of the Responsible Authority must be submitted to and approved by the Responsible Authority. When approved, the plans will be endorsed and will then form part of the permit. The plans must be drawn to scale with dimensions and must be generally in accordance with the plans advertised 5 March 2018, but modified to show: - The building setback from the northern boundary a minimum distance of 5.56 metres to align with the western wall of the dwelling at 39 Henkel Street (approved development of 54 Talbot Street) for a distance of at least 5 metres at the north-east corner of the site. The area of provided from the setbacks must accommodate permeable surfaces and landscaping, which must be designed in accordance with the landscape plan required by condition 3 of this permit and include at least one small canopy tree. - The retention of the street trees fronting Henkel Street to the east side of the existing crossover and on Talbot Street (north of 59 Talbot Street), and provision of Tree Protection Zones (TPZ). The plans must include a notation that the retention measures for works within the TPZ of the trees along the Henkel Street boundary and Talbot Street (east of the entry gate) will be in accordance with the development impact assessment report as required by condition 4). - The works to the Henkel Street crossover noted to ensure no change to the east edge of the crossing, and to dimension the crossover as 3.6 metres wide at the property boundary from the east edge. The west edge of the crossing is to include a 1 metre straight splay on the west edge from the property boundary to the kerb. - The notation for the reconfigured existing eastern vehicle crossing in Victoria Street changed to state the west portion of the crossing is to be deleted and the crossing narrowed to match the eastern end of the picket fence. - The veranda/ balcony posts to the east side of the DDA compliant car space (disabled car space) modified to allow clearance from the car door so that no post adjoins the car space, except corner posts. - Removal of reference to options in relation to car parking spaces 5 to 10 and show them as individual spaces as shown on the plan as ‘option 1’. - The height of the vehicle entry door to Henkel Street reduced in height to a maximum 2.4 metres. - A mural is to be shown painted/produced on the Talbot Street loading access door (similar in size to the area of the door) it is to be commissioned by a local artist. The mural is to be developed in consultation with residents of 40 to 54 and 57 to 59 Talbot Street. - A landscape plan in accordance with condition 3 of this permit. - Any modifications arising from the amended Sustainable Design Assessment (condition 8 of this permit). - A schedule of all proposed exterior decorations, materials, finishes and colours, including colour samples. - Secondary consent - The development as shown on the endorsed plans must not be altered without the written consent of the Responsible Authority. This does not apply to any exemption specified in Clauses 62.02-1 and 62.02-2 of the Moreland Planning Scheme unless specifically noted as a permit condition. - Landscaping - Prior to the commencement of any development works, a landscape plan must be submitted to and approved by the Responsible Authority. The landscape plan must provide the following: - Identification of any existing trees and vegetation on site and adjoining land proposed to be removed and retained, including the tree protection zones. Vegetation retainment must include strategies for the retainment (i.e. barriers and signage during the construction process). - A schedule of all proposed trees, shrubs and ground covers (including numbers, size at planting, size at maturity and botanical names), as well as sealed and paved surfaces. Including a replacement street tree to the west of the crossover in Henkel Street and a small canopy tree within the street setback in the north-east corner of the site. The flora selection and landscape design should be drought tolerant and based on species selection recommended in the Moreland Landscape Guidelines 2009. - Details of the location and type of all paved and sealed areas. Extensive hard surfaces are not supported. The adoption of porous/permeable paving, rain gardens and other water sensitive urban design features is encouraged. - Tall and narrow spreading vegetation e.g. Ornamental Pears or Pencil Pines within the front setback of 54 and 59 Talbot Street to soften the mass of the 7 metre wall on boundary, provided that the owners of each of these properties agree; or - Extension of the mural across the eastern façade of the approved building where it abuts the front yard of 54 and 59 Talbot Street. - Prior to the endorsement of plans, a development impact assessment report, prepared by an arborist, including recommendations as to the construction methodology required to preserve the health of the adjoining street trees adjoining the site on Henkel Street (east of the crossover) and Talbot Street, to the satisfaction of the Responsible Authority. When it is approved, the report will form part of the endorsed plans. Construction must be in accordance with the approved report. - Prior to the occupation of the development, all landscaping works must be completed and maintained in accordance with the approved and endorsed landscape drawing to the satisfaction of the Responsible Authority. - Prior to development commencing (including any demolition, excavations, tree removal, delivery of building/construction materials and/or temporary buildings), all council trees marked on the endorsed plans as being retained must have a Tree Protection Zone (TPZ) to the satisfaction of the Responsible Authority. The fencing associated with this TPZ must meet the following requirements: - Extent - The tree protection fencing (TPF) is to be provided to the extent of the identified TPZ. - If works are shown on any endorsed plan of this permit within the confines of the calculated TPZ, then the TPF must be taken in to only the minimum amount necessary to allow the works to be completed. - Fencing - All tree protection fencing required by this permit must be erected in accordance with the approved TPZ. - The TPF must be erected to form a visual and physical barrier and must be a minimum height of 1.5 metres and of chain mesh or similar fence with 1.8 metre support posts (e.g. treated pine or similar) every 3-4 metres, including a top line of high visibility plastic hazard tape erected around the perimeter of the fence. - Signage - Fixed signs are to be provided on all visible sides of the TPF clearly stating ‘Tree Protection Zone - No Entry’, to the satisfaction of the Responsible Authority. - Irrigation - The area within the TPZ and TPF must be irrigated during the summer months with 1 litre of clean water for every 1 cm of trunk girth measured at the soil/trunk interface on a weekly basis. - Provision of Services - All services (including water, electricity, gas and telephone) should be installed underground, and located outside of any TPZ, wherever practically possible. If underground services are to be routed within an established TPZ, they must be installed by directional boring with the top of the bore to be a minimum depth of 600mm below the existing grade, to the satisfaction of the Responsible Authority. - Bore pits must be located outside of the TPZ or manually excavated without damage to roots, to the satisfaction of the Responsible Authority. - Access to TPZ - Should temporary access be necessary within the Tree Protection Zone during the period of construction, the Responsible Authority must be informed prior to relocating the fence (as it may be necessary to undertake additional root protection measures such as bridging over with timber). - Prior to the commencement of occupation or at a later date with the prior written consent of the Responsible Authority, the owner must pay Council to remove and provide an advanced replacement tree in an appropriate location in a nature strip nearby in accordance with the Moreland Street Landscape Strategy for each street tree removed for the vehicle crossing, to the satisfaction of the Responsible Authority. - Sustainable Design assessment - Prior to the endorsement of plans, a Sustainability Design Assessment (SDA) must be submitted to and approved to the satisfaction by the Responsible Authority. The Sustainability Design Assessment (SDA) must demonstrate a best practice standard of environmentally sustainable design and be generally in accordance with the Sustainable Design Assessment by Domain Energy Ratings including BESS Report(project number 8911) and STORM report (Transaction ID 492783) received 29/08/2017 (Trim D17/289459) but modified to include the following changes: - Bicycle parking (50% above the minimum required in the planning scheme). - ‘Publish’ the BESS report (so it is no longer in ‘draft’ format). - Demonstrate best practice Urban Ecology (i.e. include light coloured roofing material). - The amended report must achieve an overall score in the BESS tool of 50% or higher, and have ‘pass’ rates of 50% for the ‘Energy’, ‘Water’ and ‘IEQ’ categories and 100% for the ‘Stormwater’ category. When submitted and approved to the satisfaction of the Responsible Authority, the SMP and associated notated plans will be endorsed to form part of this permit. - Where alternative ESD initiatives are proposed to those specified in this condition, the Responsible Authority may vary the requirements of this condition at its discretion, subject to the development achieving equivalent (or greater) ESD outcomes in association with the development. - All works must be undertaken in accordance with the endorsed Sustainability Design Assessment (SDA) to the satisfaction of the Responsible Authority. No alterations to the SDA may occur without the prior written consent of the Responsible Authority. - Development Contribution Plan Levy - Prior to the issue of a Building Permit in relation to the development approved by this permit, a Development Infrastructure Levy must be paid to Moreland City Council in accordance with the approved Development Contributions Plan. The Development Infrastructure Levy is charged per 100 square metres of leasable floor space. - If an application for subdivision of the land in accordance with the development approved by this permit is submitted to Council, payment of the Development Infrastructure Levy can be delayed to a date being whichever is the sooner of the following: - A maximum of 12 months from the date of issue of the Building Permit; or - Prior to the issue of a Statement of Compliance for the subdivision. - When a staged subdivision is sought, the Development Infrastructure Levy must be paid prior to the issue of a Statement of Compliance for each stage of subdivision in accordance with a Schedule of Development Contributions approved as part of the subdivision. - General conditions - The doors to the warehouse from Talbot Street and Henkel Street must only be open when they are in use, and otherwise are to remain closed. The Henkel Street vehicle access door or adjoining wall is to contain clear signage that there is no access to delivery vehicles from that entry. - Prior to the occupation of the development, any Council or service authority pole or pit within 1 metre of a proposed vehicle crossing, including the 1 metre splays on the crossing, must be relocated or modified at the expense of the permit holder to the satisfaction of the Responsible Authority and the relevant service authority. - The area set aside for the parking of vehicles and access lanes shown on the endorsed plan must to the satisfaction of the Responsible Authority: - Be completed prior to the occupation of the development (extension). - Be maintained. - Be properly formed to such levels that it can be used according to the endorsed plan. - Have the boundaries of all vehicle parking spaces clearly marked on the ground to accord with the endorsed plan. - Not be used for any other purpose other than the parking of vehicles. - Prior to the occupation of the development, all boundary walls must be constructed, cleaned and finished to the satisfaction of the Responsible Authority. - The modified Talbot Street entrance must only be used for access to on-site car parking and for the outward delivery of stock. Delivery off stock to the site via Talbot Street to be no more than once per week. - Time limit - This permit will expire if one of the following circumstances applies: - The development is not commenced within 2 years from the date of issue of this permit. - The development is not completed within 4 years from the date of issue of this permit. - The Responsible Authority may extend the period referred to if a request is made in writing before the permit expires or: - Within 6 months after the permit expires to extend the commencement date. - Within 12 months after the permit expires to extend the completion date of the development if the development has lawfully commenced. - Notes: These notes are for information only and do not constitute part of this notice of decision or conditions of this notice of decision. - Note 1: Further approvals are required from Council’s City Infrastructure Department who can be contacted on 8311 4300 for any works beyond the boundaries of the property. Planting and other vegetative works proposed on road reserves can be discussed with Council’s Open Space Unit on 8311 4300. - Note 2: Unless no permit is required under the Moreland Planning Scheme, no sign must be constructed or displayed on the land without a further planning permit. - Note 3: Noise levels for the site will be regulated by the State Environment Protection Policy (Control of noise from commerce, industry and trade) No. N-1. Carried

DED32/18 16 Irvine Crescent, Brunswick West - Planning Application MPS/2016/923 (D18/112367)

The application seeks approval for the construction of 8 dwellings (6 triple storey and 2 double storey) and a reduction of the standard car parking requirements. The application was advertised and 15 objections were received. The main issues raised in the objections are on-site parking provision, traffic impacts, use of the lane, car stackers, overdevelopment and neighbourhood character. A Planning Information and Discussion meeting was held on 11 April 2017 and was attended by 2 Council officers, the applicant and one objector. No changes were made to the proposal following the meeting. The report details the assessment of the application against the policies and provisions of the Moreland Planning Scheme. The key planning considerations are: -  Whether the development adequately responds to the objectives of the Design and Development Overlay Schedule 24 (DDO24) and the purpose of the Residential Growth Zone Schedule 2 (RGZ2); -  Whether the design of the building is acceptable in its context; -  Whether the car parking provision is acceptable; and -  Whether the off-site amenity impacts are acceptable. The proposal has strong strategic support given its location in the Moreland Road/Melville Road Neighbourhood Centre. The proposal has a high level of compliance with the relevant provisions of the Moreland Planning Scheme including Clause 32.07 (Residential Growth Zone, Schedule 2), Clause 43.02 (Design and Development Overlay, Schedule 24) and Clause 55. Subject to conditions of this recommendation, it is considered that the proposal responds appropriately to the preferred character of the area. It is recommended that a Notice of Decision to Grant a Planning Permit be issued for the proposal. 7.41 pm Cr Bolton left the Council Chamber during the officer presentation. 7.42 pm Cr Bolton returned to the Council Chamber during the officer presentation.

- Officer Recommendation That a Notice of Decision to Grant Planning Permit, Permit No. MPS/2016/923 be issued for the construction of eight dwellings and a reduction of the standard car parking requirements at 16 Irvine Crescent, Brunswick West, subject to the following conditions: Amended Plans 1. Before the development commences, amended plans to the satisfaction of the Responsible Authority must be submitted to and approved by the Responsible Authority. When approved, the plans will be endorsed and will then form part of the permit. The plans must be drawn to scale with dimensions and must be generally in accordance with the plans advertised 29 January 2018 but modified to show: a) Changes in accordance with the plans TP1 – TP4 Revision E prepared by Archsign with revision date May 2018, including: i. A brick balustrade to the balconies of dwellings 1 and 2. ii. An increase to the setback of the second floor bedroom on the southern side of dwelling 1. iii. A framing element to the southern side of dwellings 1 and 2. iv. A brick and render front fence. v. A pedestrian path to the entrance of dwelling 2. but further modified to show: vi. The front fence entirely constructed of brick. vii. A ‘Windspray’ render finish to the second floor of each dwelling. viii. Screening to the second floor habitable room windows on the eastern side of the buildings to comply with Standard B22 (Overlooking) at Clause 55.04-6 of the Moreland Planning Scheme. b) A screen diagram drawn at a scale of 1:50 which details the screen associated with the 0.6 metre trellis for the eastern boundary fence opposite dwelling 7 and the screening on the eastern and western sides of dwelling 7 and 8’s balconies. This diagram must include: i. All dimensions, including the width of slats and the gap between slats. ii. All side screens. iii. How compliance is achieved with the standard of Clause 55.04-6 (overlooking) of the Moreland Planning Scheme. c) The provision of at least a 1.8 metre high fence between the private open spaces of dwellings 1 to 7 to comply with Standard B23 (Internal Views) at Clause 55.04-7 of the Moreland Planning Scheme. d) A detailed diagram (1:50) of the window shrouds that demonstrates that there will be no views from the first floor bedroom windows of dwelling 3 and 4 into the existing habitable room windows at 14 and 18 Irvine Crescent, Brunswick West or the windows modified to achieve compliance with Standard B22 (Overlooking) at Clause 55.04-6 of the Moreland Planning Scheme. e) A landscape plan in accordance with condition 3 of this permit including: i. Any modifications required to the window shrouds to accommodate the three tall, narrow trees on the western side of the building. f) The electricity meter box relocated adjacent the western wall of dwelling 2, not in a standalone location in the front setback. g) Gas and water meters shown on all relevant plans. Where meters would be visible from the public realm, they must not be in a stacked or placed vertically, and must be screened from view using either landscaping or fixed screening. h) A schedule of all proposed exterior decorations, materials, finishes and colours, including colour samples and coloured elevations. i) Scyon Matrix Cladding to the garage door of dwelling 1, to better integrate the garage door into the design of the dwelling. j) The levels of the porches of dwellings 1 to 6 reduced to match the levels of the pedestrian path to achieve an accessible path from the street to the entry of the dwellings. k) Detailed elevations of the entry arbour and mailboxes to ensure there is no conflict with pedestrian access. l) Details of the screening to the waste storage area. m) One bicycle parking device in the dwelling 1 garage but not located within the ‘clearance required’ areas shown in Diagram 1 of Clause 52.06 of the Moreland Planning Scheme. The plans are to also specify the type of bike parking device and the dimensions shown must accord with the specifications in Australian Standard for Bicycle Parking (AS2890.3). n) At least 20 per cent (two) of the bicycle parking devices are to be designed to park bicycles horizontally (i.e. 1.7 metres long) in accordance with the Australian Standard for Bicycle Parking (AS2890.3). o) The floor level for the Dwelling 1 garage of RL 52.6 corrected. p) Specifications for the car stacker system, including specific model numbers and upper and ground floor vehicle clearance heights are to be provided, and the plans are to dimension the car stackers in accordance with these specifications. At least 25 per cent of the mechanical car parking spaces are to be able to accommodate a vehicle clearance height of at least 1.8 metres. q) The crossover to Irvine Crescent relocated to the eastern boundary of the site and the splay on the western side of the crossover reduced to 500 millimetres, to protect the existing street tree. r) Where practical, the conclusions of the Acoustic Report prepared by Cogent Acoustics dated 16 November 2017 to be clearly annotated on the plans. s) Initiatives contained within the Sustainable Design Assessment, including: i. A clear statement indicating that the stormwater harvesting system (rainwater tanks) must be completely independent of any detention requirements (through the Legal Point of Discharge process). ii. Shading devices, including the type of screening and their location, must be shown on all relevant elevation plans, with a picture, diagram or section of the shading device provided. Eaves may be used for shading to North facing habitable room glazing, provided the eave projects at least 45 per cent of the windows height (measured from the relevant floor level). This could be in the form of awning blinds, vertical louvres or roller shutters that have the capacity to entirely block the summer sun. iii. A clear statement committing to a 6.5 Star NatHERS average (amend note on TP01). iv. Double glazing shown on the individual habitable room windows on the elevations and clearly shown on the Materials Schedule. v. Ensure that tank sizes and notes are consistent with the STORM Rating Report. Secondary Consent 2. The development as shown on the endorsed plans must not be altered without the written consent of the Responsible Authority. This does not apply to any exemption specified in Clauses 62.02-1 and 62.02-2 of the Moreland Planning Scheme unless specifically noted as a permit condition. Landscaping 3. Prior to the endorsement of plans, a landscape plan must be submitted to and approved by the Responsible Authority. The landscape plan must provide the following: a) Identification of any existing trees on adjoining land including the tree protection zones. Vegetation retainment must include strategies for the retainment (i.e. barriers and signage during the construction process). b) A schedule of all proposed trees, shrubs and ground covers (including numbers, size at planting, size at maturity and botanical names), as well as sealed and paved surfaces. The flora selection and landscape design should be drought tolerant and based on species selection recommended in the Moreland Landscape Guidelines 2009. The landscape plan must specify any drought tolerant plants, drip irrigation or xeriscaping proposed. c) The planting of canopy trees that are generally in accordance with those shown on the advertised plans. d) The provision of at least two trees within the front setback to assist in the integration of the development within the existing streetscape, with the tree species selected according to the available space, in accordance with the Moreland Tree Planting Manual for Residential Zones, 2014. e) Details of the location and type of all paved and sealed areas. Extensive hard surfaces are not supported. The adoption of porous/permeable paving, rain gardens and other water sensitive urban design features is encouraged. f) Details of the materials for pedestrian paths, entry steps, the entry arbour and porches, including details of height and materials. g) A minimum of three tall, narrow skyline trees that can be planted in the available space on the western side of the building, with the tree species selected according to the available space, in accordance with the Moreland Tree Planting Manual for Residential Zones, 2014. h) The provision of landscaping within the setback of bedroom 3 of dwelling 1 from the eastern boundary. 4. Prior to the issuing of a Statement of Compliance or occupation of the development, whichever occurs first, all landscaping works must be completed and maintained in accordance with the approved and endorsed landscape drawing to the satisfaction of the Responsible Authority. 5. Prior to development commencing (including any demolition, excavations, tree removal, delivery of building/construction materials and/or temporary buildings), all council street trees must have a Tree Protection Zone (TPZ) to the satisfaction of the Responsible Authority. The fencing associated with this TPZ must meet the following requirements: Extent a) The tree protection fencing (TPF) is to be provided to the extent of the TPZ, calculated as being a radius of 12 x Diameter at Breast Height (DBH – measured at 1.4 metres above ground level as defined by the Australian Standard AS 4970.2009). b) If works are shown on any endorsed plan of this permit within the confines of the calculated TPZ, then the TPF must be taken in to only the minimum amount necessary to allow the works to be completed. Fencing c) All tree protection fencing required by this permit must be erected in accordance with the approved TPZ. d) The TPF must be erected to form a visual and physical barrier, be a minimum height of 1.5 metres above ground level and of chain mesh or similar material. A top line of high visibility plastic tape must be erected around the perimeter of the fence. Signage e) Fixed signs are to be provided on all visible sides of the TPF clearly stating ‘Tree Protection Zone – No Entry’, to the satisfaction of the Responsible Authority. Irrigation f) The area within the TPZ and TPF must be irrigated during the summer months with 1 litre of clean water for every 1cm of trunk girth measured at the soil/trunk interface on a weekly basis. Provision of Services g) Unless with the prior written consent of the Responsible Authority, all services (including water, electricity, gas and telephone) must be installed underground, and located outside of any TPZ, to the satisfaction of the Responsible Authority. Access to TPZ h) Should temporary access be necessary within the Tree Protection Zone during the period of construction, the Responsible Authority must be informed prior to relocating the fence (as it may be necessary to undertake additional root protection measures such as bridging over with timber). Environmental Sustainable Development 6. Prior to the endorsement of plans, a Sustainable Design Assessment (SDA) must be submitted to and approved to the satisfaction by the Responsible Authority. The Sustainable Design Assessment must demonstrate a best practice standard of environmentally sustainable design and be generally in accordance with the SDA by Arch Sign, including BESS Report (Project Number 11859) and STORM Rating Report (Transaction ID: 563761), but modified to include the following changes: a) ‘Publish’ the BESS Report (so it is no longer in ‘draft’ format). b) Ensure stormwater catchment areas, other impermeable areas and permeable areas and associated treatments (raingardens, permeable paving and tanks) align with development plans and STORM Rating Report. c) Provide a stormwater catchment diagram, which clearly shows the intended drainage patterns of the development and reflects a STORM Rating Report which Council has deemed Best Practice. d) Ensure that the BESS Report and the STORM Rating Report are consistent; Water Category modelling in BESS is consistent with STORM Rating Report treatment rows (catchment areas, tank sizes and connection to toilets). e) Provide a NatHERS Report for Dwelling 1 or 2 and a NatHERS Report for either Dwelling 3, 4, 5 or 6, to demonstrate an average energy rating of 6.5 stars. f) Amend BESS Report notes for Energy 3.5 – commit to 4W/m2. g) Amend BESS Report notes for IEQ 3.1 – make a firm commitment to double glazing that will be seen through to construction. h) Amend dwelling areas in BESS Report to not include garages. i) Remove IEQ 3.3 in BESS Report. j) Provide calculation to support Urban Ecology 2.1 BESS Report credit. The amended BESS Report must achieve an overall score of 50% or higher, and have ‘pass’ rates of 50% for the ‘Energy’, ‘Water’ and ‘IEQ’ categories and 100% for the ‘Stormwater’ category. Where alternative ESD initiatives are proposed to those specified in this condition, the Responsible Authority may vary the requirements of this condition at its discretion, subject to the development achieving equivalent (or greater) ESD outcomes in association with the development. When submitted and approved to the satisfaction of the Responsible Authority, the BESS Report and associated notated plans will be endorsed to form part of this permit. 7. All works must be undertaken in accordance with the endorsed Sustainable Design Assessment report to the satisfaction of the Responsible Authority. No alterations to these plans may occur without the written consent of the Responsible Authority. 8. Prior to the commencement of occupation or issue of Statement of Compliance, whichever comes first, of any dwelling approved under this permit, a report from the author of the Sustainable Design Assessment (SDA) approved pursuant to this permit, or similarly qualified person or company, must be submitted to the Responsible Authority. The report must be to the satisfaction of the Responsible Authority and must confirm that all measures specified in the SDA have been implemented in accordance with the approved plan. Development Contributions 9. Prior to the issue of a Building Permit in relation to the development approved by this permit, a Development Infrastructure Levy and Community Infrastructure Levy must be paid to Moreland City Council in accordance with the approved Development Contributions Plan. If an application for subdivision of the land in accordance with the development approved by this permit is submitted to Council, payment of the Development Infrastructure Levy can be delayed to a date being whichever is the sooner of the following:  For a maximum of 12 months from the date of issue of the Building Permit for the development hereby approved; or  Prior to the issue of a Statement of Compliance for the subdivision; When a staged subdivision is sought, the Development Infrastructure Levy must be paid prior to the issue of a Statement of Compliance for each stage of subdivision in accordance with a Schedule of Development Contributions approved as part of the subdivision. Acoustic Attenuation 10. Prior to the commencement of the development allowed by this permit, the Acoustic Report prepared by Cogent Acoustics dated 16 November 2017 must be endorsed to form part of the permit. The development must be constructed and maintained in accordance with the requirements and recommendations of the approved Acoustic Assessment to the satisfaction of the Responsible Authority. No alterations may occur without the prior written consent of the Responsible Authority. 11. Prior to the occupation of the development, a report from the author of the Acoustic Assessment, approved pursuant to this permit, or similarly qualified person or company, must be submitted to the Responsible Authority. Post-construction testing is to be undertaken as part of this report by a suitably qualified acoustic expert. The testing is to show that any noise impacts directly from the proposed car stacker on the adjoining residential properties meet the maximum standards/readings. The report must be to the satisfaction of the Responsible Authority and must confirm that all measures specified in the Acoustic Assessment have been implemented in accordance with the approved Report. 12. That upon request an acoustic review will be undertaken at the land owner’s cost to verifying ongoing compliance with Condition 10. In the event that the nominated decibel levels are not being be met, the acoustic expert must recommend further noise attenuation measures to ensure compliance with the condition. General Conditions 13. Prior to the issuing of Statement of Compliance or occupation of the development, whichever occurs first, all visual screening measures shown on the endorsed plans must be installed to the satisfaction of the Responsible Authority. All visual screening and measures to prevent overlooking must be maintained to the satisfaction of the Responsible Authority. Any screening measure that is removed or unsatisfactorily maintained must be replaced to the satisfaction of the Responsible Authority. 14. Prior to the occupation of the development, a vehicle crossing must be constructed in every location shown on the endorsed plans to a standard satisfactory to the Responsible Authority (Moreland City Council, City Infrastructure Department). 15. Prior to the occupation of the development, the bicycle parking racks must be installed in a secure manner that accords with the specifications in the Australian Standard for Bicycle Parking (AS2890.3) to the satisfaction of the Responsible Authority. 16. Prior to the occupation of the development, the garage roller doors must be automatic and remote controlled. 17. The dwelling 1 garage door is not to be a single panel tilt door so that tandem vehicles do not park further away, overhanging the public footpath contrary to Rule 197 of the Road Rules Victoria. 18. Any ramp constructed to access the garage floor from the road reserve or right-of-way must be contained entirely within the site to ensure that the level of the right-of-way remains as constructed by Responsible Road Authority. 19. Before the occupation of the development, bollard lighting no higher than 1.2 metres above ground level is to be installed and maintained on the land to automatically illuminate pedestrian access along the pedestrian footpath to the rear parking area between dusk and dawn with no direct light emitted onto adjoining property to the satisfaction of the Responsible Authority. 20. All stormwater from the land, where it is not collected in rainwater tanks for re-use, must be collected by an underground pipe drain approved by and to the satisfaction of the Responsible Authority (Note: Please contact Moreland City Council, City Infrastructure Department). 21. Stormwater from the land must not be directed to the surface of the right-of-way to the satisfaction of the Responsible Authority 22. Prior to the occupation of the development, all boundary walls must be constructed, cleaned and finished to the satisfaction of the Responsible Authority. 23. Prior to the occupation of the development all telecommunications and power connections (where by means of a cable) and associated infrastructure to the land (including all existing and new buildings) must be underground to the satisfaction of the Responsible Authority. 24. Prior to the occupation of the development, any Council or service authority pole or pit within 1 metre of a proposed vehicle crossing, including the 1 metre splays on the crossing, must be relocated or modified at the expense of the permit holder to the satisfaction of the Responsible Authority and the relevant service authority. Time Limit 25. This permit will expire if one of the following circumstances applies:  The development is not commenced within 2 years from the date of issue of this permit;  The development is not completed within 4 years from the date of issue of this permit. The Responsible Authority may extend the period referred to if a request is made in writing before the permit expires or:  Within 6 months after the permit expires to extend the commencement date.  Within 12 months after the permit expires to extend the completion date of the development if the development has lawfully commenced. Notes: These notes are for information only and do not constitute part of this notice of decision or conditions of this notice of decision. Note 1: Further approvals are required from Council’s City Infrastructure Department who can be contacted on 8311 4300 for any works beyond the boundaries of the property. Planting and other vegetative works proposed on road reserves can be discussed with Council’s Open Space Unit on 8311 4300. Note 2: Should Council impose car parking restrictions in this street, the owners and/or occupiers of the land would not be eligible for any Council parking permits to allow for on street parking. - Note 3: Council’s Waste Services Unit will provide three 240 litre waste bins and three 240 litre recycling bins for the eight dwellings to share. An area should be set aside on common land to store these bins, screened from public view. Contact Council’s City Infrastructure department (9240 1111) for more information.

- Resolution - Cr Kavanagh moved, Cr Bolton seconded - - That a Refusal to Grant Planning Permit No. MPS/2016/923 be issued for the construction of 8 dwellings and a reduction of the standard car parking requirements at 16 Irvine Crescent, Brunswick West on the following grounds: 1. The proposed composition and appearance of the development fails to make a positive contribution to the public realm and does not represent high quality development, contrary to the objectives of the Design and Development Overlay, Schedule 24 and the Moreland Neighbourhood Centres Strategy 2017. In particular: a) The building façade has not been designed with an appropriate rhythm and proportion that does not respond to the building’s uses and context, and does not contribute to a fine grain urban character. b) The proposal does not adopt a solid architectural expression that emphasises the street edge. 2. The Dwellings 3 to 6 do not provide adequate private open space for the reasonable recreation and service needs of residents, which does not comply with Clause 55.05-4 (Private Open Space) of the Moreland Planning Scheme. 3. The provision of 10 resident parking spaces would not provide for an appropriate number of car spaces on the land as required by Clause 52.06 (Car Parking) of the Moreland Planning Scheme, and would adversely impact on street residential car parking. Carried

DED33/18 Champ Street Streetscape Improvement Plan (D18/142327)

At its meeting October 2006 meeting, Council resolved to endorse the Pentridge Streetscapes Concept, dated May 2006. In 2014, the then Minister for Planning approved the 2014 Pentridge Coburg Masterplan which includes a commitment to review the 2006 Pentridge Streetscapes Concept Design. An updated Concept Design has been prepared by Shayher Group in consultation with Council officers. Informing the review is a Heritage Study, commissioned by Council, which assesses the heritage significance of the Champ Street streetscape including the street trees. The updated Concept Design includes streetscape improvements to the east and west side of Champ Street between Pentridge Boulevard to the south and Murray Road to the north. It also includes provision for landscaping along the southern side of Murray Road between Champ Street and Stockade Avenue. The plan is largely consistent with the 2006 plan with a number of key changes including (but not limited to) the retention of Spotted Gums on the east side of Champ Street (with the exception of the Spotted Gum permitted for removal under permit MPS/2015/206) the removal of indented parking along the east side of Champ Street and the provision of a greater number of trees on the south side of Murray Road. Residents of Champ Street were notified of the concept plan and have been invited to make a submission to Council. In addition, the Pentridge Coburg Action Group, Coburg Historical Society, National Trust and Heritage Victoria were all notified and invited to make a submission. To date Council has received 9 submissions including from the Pentridge Coburg Action Group and Heritage Victoria. This report discusses the changes shown in the updated Concept Design and the submissions received by residents. It is recommended that the Urban Planning Committee resolve to adopt the revised plan with minor changes to supersede the 2006 Pentridge Streetscapes Concept Plan. 8.14 pm Cr Abboud left the Council Chamber before the officer presentation. 8.15 pm Cr Abboud returned to the Council Chamber during the officer presentation. 8.16 pm Cr Yildiz left the Council Chamber during the officer presentation. 8.22 pm Cr Yildiz returned to the Council Chamber after the officer presentation.

- Officer Recommendation That the Urban Planning Committee resolve to adopt the revised Pentridge Streetscapes Concept Design dated 26 February 2018, Revision P1 to supersede the existing Concept Plan dated May 2006, subject to the following changes: 1. Seating incorporated on the east side of Champ Street within the road reserve, adjacent to the pedestrian path in appropriate locations. 2. An on-road bicycle lane provided on the west side of Champ Street in addition to the east. 3. Remove the area shown as hardstand which sits forward of the western wall and perpendicular to the southern-most access point on Champ Street, consistent with the Pentridge Coburg Design Guidelines and Masterplan, February 2014. - 4. Streetscape Improvements to Pentridge Boulevard, generally consistent with the 2006 Pentridge Streetscape Concept Plan, showing a pedestrian path from Champ Street to the existing path to the east of Pentridge.

- Resolution - Cr Carli Hannan moved, Cr Kavanagh seconded - That the Urban Planning Committee resolve to adopt the revised Pentridge Streetscapes Concept Design dated 26 February 2018, Revision P1 to supersede the existing Concept Plan dated May 2006, subject to the following changes: 1. Seating incorporated on the east side of Champ Street within the road reserve, adjacent to the pedestrian path in appropriate locations. 2. An on-road bicycle lane provided on the west side of Champ Street in addition to the east. 3. Remove the area shown as hardstand which sits forward of the western wall and perpendicular to the southern-most access point on Champ Street, consistent with the Pentridge Coburg Design Guidelines and Masterplan, February 2014. - 4. Streetscape Improvements to Pentridge Boulevard, generally consistent with the 2006 Pentridge Streetscape Concept Plan, showing a pedestrian path from Champ Street to the existing path to the east of Pentridge. - 8.40 pm Cr Yildiz left the Council Chamber before the item was voted on and did not return. Carried

The meeting closed at 8.42 pm.

Confirmed

Cr Carli Hannan

INTERIM CHAIRPERSON