#### CONSTRUCTION

SPECIFICATION

TEMPLATE

Instructions for Using this Document

- Specification items that are common to all configurations are in black text.

- Items be included/excluded depending on the options chosen are in red text. Delete items not relevant to project.

- Additional guidance is provided throughout the template through use of comments in yellow.

- This should be read and updated in conjunction with other relevant Moreland City Council standard specifications including sections for OVERVIEW OF CONTRACT WORKS, UNDERGROUND STORMWATER DRAINS AND CONDUITS, CONCRETE KERBS, CHANNELS, FOOTPATHS AND CROSSINGS, CONCRETE CONSTRUCTION and MATERIAL AND DESIGN REQUIREMENTS FOR STORMWATER PROTECTION MEASURES.

- This Construction Specification Template should be used in conjunction with the “Streetscape WSUD Raingarden and Tree Pit Design Package” design document.

- This toolkit (consisting of this document “Construction Specification Template”, the main document “Streetscape WSUD Raingarden and Tree Pit Design Package” and the accompanying AutoCAD library) has been prepared by GHD to provide general advice regarding the implementation of raingardens and tree pits.  When using this toolkit it is necessary for a suitably skilled professional to review the applicability of the advice provided herein to specific site circumstances.  Designs prepared using this toolkit should be reviewed from a public safety and construction safety perspective prior to being issued for construction.  Designs prepared using this toolkit should also be reviewed for compliance with WSUD Engineering Procedures: Stormwater (Melbourne Water, 2005) or whatever design guidelines supersede this publication.

- GHD prepared the original version of this template, which is labelled revision 0 on document control page below.  Revisions beyond revision 0, unless noted otherwise, have not been prepared by GHD or reviewed by GHD.  GHD disclaims responsibility to any person arising in connection with this template.  GHD also excludes implied warranties and conditions, to the extent legally permissible.

Document Status

| Rev No. | Author | Organisation | Reviewer |  | Approved for Issue |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Name | Signature | Name | Signature | Date |
| 0 | K Wilson R Nowoisky | GHD Pty Ltd | M van der Peet |  | S Graham |  | 4/7/13 |

Contents

1	EXCAVATION	5

1.1	Drainage during Construction	5

1.2	Excavation	5

1.3	Backfilling of Excavations	6

2	RAINGARDEN WORKS	7

2.1	HDPE Lining	7

2.2	Drainage Layer and Agricultural Pipe	7

2.3	Filter Layers	7

2.4	Final Surface Levels and Grades	7

2.5	Raingarden Soil Media	7

2.6	Landscape Material	9

2.7	Testing	9

2.8	Inspection and Hold Points for Raingardens Works	10

3	CONCRETE WORKS	11

3.1	General Requirements	11

3.2	Concrete Tolerances	11

3.3	Surface Finish of Walls	11

3.4	Stepirons and Ladders	11

3.5	Drainage Pits	11

3.6	Access Covers	11

3.7	Concrete Placing	11

3.8	Curing	11

3.9	Construction Joints	11

3.10	Reinforcement	12

4	PAVEMENT CONSTRUCTION	13

4.1	General	13

4.2	Asphalt	13

4.3	Surface Markings	13

5	LANDSCAPING WORKS	14

5.1	General landscaping requirements	14

5.2	Rock Scour Protection	15

5.3	Timber Construction	15

5.4	Metalwork	16

5.5	Bluestone Pitchers Edging & Steps	18

5.6	Fencing & Bollards	18

5.7	Garden Bed Preparation	19

5.8	Shrub & Groundcover Planting	22

5.9	Semi Advanced Tree Planting	23

5.10	Raingarden Mulch	24

5.11	Landscape Establishment / Maintenance	25

5.12	Sample Schedule	26

6	CLEAN UP AND SITE RESTORATION	27

6.1	Surface Restoration	27

6.2	Surface Works	27

6.3	Cleaning Up	27

# EXCAVATION

## Drainage during Construction

GENERAL: Make all necessary allowances and construct temporary works to ensure that adequate drainage is maintained across the site during construction.  Include allowances for provision, operation and maintenance of all equipment, which may be required including pumps, pipework and the like.

DRAINAGE OF FILL: Ensure that all placed fill surfaces are free draining during construction.

DRAINAGE OF SITE: Provide adequate drainage around the Works area, including site offices and stockpiles, to ensure that any disruption to the Works due to adverse weather conditions is minimised.

REQUIREMENT: The base of any excavation which has been disturbed by the action of water or any construction activity such that it does not meet the requirements of this Specification shall be rectified by the Contractor.

## Excavation

### General Requirements

Refer to Moreland City Council standard specification UNDERGROUND STORMWATER DRAINS AND CONDUITS.

### Methods of Excavation

For the purpose of this Specification, the methods of excavation are defined as follows:

Excavation is the removal of ground from the surface to a depth necessary to execute the Works.

Excavations required for pits and other structures.

### Excavation

Width:

The width of an excavation must not exceed the minimum width by more than 100 mm unless approved by the Superintendent. The minimum width of the excavation up to the finished surface must be for pipe nominal sizes less than DN 1500, the external diameter of the pipe plus 600 mm unless approved by the superintendent or required for safety.

Depth:

Refer to Moreland City Council standard specification UNDERGROUND STORMWATER DRAINS AND CONDUITS.

### Securing the Excavation

Refer to Moreland City Council standard specification UNDERGROUND STORMWATER DRAINS AND CONDUITS.

### Nature of Ground

If ground conditions endanger adjoining property, adjacent structures, trees, major services or require a change in construction method, the Superintended shall be notified.

Any slippage that may occur during the course of the Works must be removed. The excessive excavation and refill resulting from slippage must be dealt with in accordance with Clause titled “Excessive Excavation” in this Specification.

### Excessive Excavation

Where the excavation depth and width exceed those specified above the superintendent shall be notified and will assess the structural requirements of this portion of works to determine appropriate remedial action.

### Excavation of Unsuitable Material

Unsuitable materials may be classified as wet soils, softened soils, loose soils, highly permeable soils and soils not meeting the requirements of Table 2 of EPA Information Bulletin 448 and EPA Information Bulletin 655.

If the unsuitable material cannot be reworked or treated it must be disposed of in accordance with Clause titled “Disposal of Surplus Excavated Material” of this specification.

### Disposal of Surplus Excavated Material

Excavated materials that are unsuitable or not required for permanent construction must be progressively disposed of.

Excavated material shall be tested for compliance with EPA requirements prior to removal from site.

Excavated material which does not comply with Table 2 of Industrial Waste Resource Guideline - IWRG 621 SOIL HAZARD CATEGORISATION AND MANAGEMENT shall be handled according to EPA approved methods.

The disposal area must be free draining and trimmed to reasonably regular lines and stable slopes.

All surface rock and rubble is to be disposed of off site.

## Backfilling of Excavations

Only applies where there are new pipes or pits.

Refer to Moreland City Council standard specification UNDERGROUND STORMWATER DRAINS AND CONDUITS.

# RAINGARDEN WORKS

## HDPE Lining

The HDPE liner is to be installed as indicated in the drawings. The excavation area nominated for the HDPE liner is to be free from protrusions (i.e. rocks & roots) that could puncture the liner.

The liner is to be installed in accordance with the manufacturer’s specifications to form a water tight seal.

## Drainage Layer and Agricultural Pipe

The slotted drainage pipe is to be placed on an even bed of 20 mm depth of “drainage layer” material over the base and to be surrounded and covered with a minimum 20 mm depth of drainage layer” material.

A minimum cover of 400 mm is to be maintained over the slotted pipe before it is travelled over by plant. Drainage lines are not to be crossed by any vehicles.

## Filter Layers

Installation of the coarse sand transition layer and soil filter media is to be undertaken carefully to avoid displacement of the layers and in lifts of no more than 200 mm.

On the placement of each layer a light compaction (e.g. with a light tapper) is to be undertaken to minimise subsidence and prevent uneven drainage. Any excessive compaction is not desirable and any ruts that occur on the surface need to be de-compacted prior to mulching.

## Final Surface Levels and Grades

It is intended that the final surface of the filter will be planar except where indicated in the drawings. The surface is to be graded to within +/- 50 mm of the grade and level indicated on the plans. The final grading of the filter surface is to be confirmed by level survey or string lines.

## Raingarden Soil Media

The soil filter media is to be in accordance with the specifications below based on the Guideline Specifications for Soil Media in Bioretention Systems (FAWB, 2009).

### Filter Layer Material

Material as indicated on the drawings as Filter Material shall consist of the following.

The material can be of siliceous or calcareous origin and should be a sandy loam to loamy sand.  The soils should contain some organic matter but be low in nutrients.  The depth of filter media will vary in accordance with the drawings.

Filter materials shall have a saturated hydraulic conductivity in the range of 180 – 400 mm/h unless otherwise approved by the superintendent. Filter materials, which comply with the particle size grading outlined in Table 1, will generally meet saturated hydraulic conductivity specifications.

Table 1 Raingarden Filer Media Grading Requirements

| DESCRIPTION | PROPORTION | GRADING |
| --- | --- | --- |
| Clay & Silt | <3% | <0.05 mm |
| Very Fine Sand | 5 - 30% | 0.05 - 0.15 mm |
| Fine Sand | 10 - 30% | 0.15 - 0.25 mm |
| Medium to Coarse Sand | 40 - 60% | 0.25 - 1.0 mm |
| Coarse Sand | 7 - 10% | 1.0 - 2.0 mm |
| Fine Gravel | <3% | 2.0 - 3.4 mm |

The filter media should be well-graded and should have all particle size ranges present from the 0.075 mm to the 4.75 mm sieve (as defined by AS1289.3.6.1 - 2009). There should be no gap in the particle size grading, and the composition should not be dominated by a small particle size range. This is important for preventing structural collapse due to particle migration.

Filter Media must meet the testing criteria as detailed in Section 2.7.1.

### Organic Matter for Ameliorating top 100 mm of Filter Layer

The top 100 mm of the filter medium should be ameliorated with appropriate organic matter, fertiliser and trace elements with the constituents and quantities detailed in Table 2.

Table 2 Organic Matter for top 100 mm of Filter material

| CONSTITUENT | QUANTITY (kg/100 m2 FILTER AREA) |
| --- | --- |
| Granulated poultry manure fines | 50 |
| Superphosphate | 2 |
| Magnesium sulphate | 3 |
| Potassium sulphate | 2 |
| Trace Element Mix | 1 |
| Fertilizer NPK (16.4.14) | 4 |
| Lime | 20 |

### Transition Layer

Material as indicated on the drawings as Transition Layer shall consist of the following.

Transition layer material shall be a clean, well-graded sand material containing <2% fines.

To avoid migration of the filter media into the transition layer, the particle size distribution of the sand should be assessed to ensure it meets ‘bridging criteria’, that is, the smallest 15% of the sand particles bridge with the largest 15% of the filter media particles:

D15 (transition layer) ≤ 5 x D85 (filter media) where: D15 (transition layer) is the 15th percentile particle size in the transition layer material (i.e., 15% of the sand is smaller than D15 mm); and

D85 (filter media) is the 85th percentile particle size in the filter media.

### Submerged Zone

Material as indicated on the drawings as Submerged Zone shall consist of Transition layer material as detailed in Section 2.5.3 and mixed as follows (per 100 L):

98 Litres of Transition Layer Material.

500 g biodegradable sugar cane mulch.

1.5 kg recycled, untreated hardwood chips or plantation hardwood chips.

### Drainage Layer

Material as indicated on the drawings as Drainage Material shall consist of the following:

The drainage layer collects treated water at the bottom of the system and conveys it to the underdrain pipes. Drainage layer material is to be clean, fine gravel, such as a 2 – 5 mm washed screenings as follows.

| PARTICLE SIZE (MM) | % RETAINED |
| --- | --- |
| Greater than 5.0 | 0 |
| 2.0 - 5.0 | 100 |
| Less than 2.0 | 0 |

Note: Scoria or quartz are not considered suitable materials for this application.

Bridging criteria should be applied to avoid migration of the transition layer into the drainage layer as follows:

D15 (drainage layer) ≤ 5 x D85 (transition layer) where: D15 (drainage layer) is the 15th percentile particle size in the drainage layer material (i.e., 15% of the gravel is smaller than D15 mm); and

D85 (transition layer) is the 85th percentile particle size in the transition layer material.

## Landscape Material

For all landscaping materials (including timber, rock, mulch, topsoil, turfing and plants) refer to the relevant clauses of Section 5 of the specification.

## Testing

### Filter Media - Testing Requirements

Testing is to be independently conducted by a NATA approved laboratory, and a copy of the test results to be sent to the project superintendent for approval, prior to the filter soil installation. To determine whether a soil is suitable the following tests should be undertaken from samples taken from the on site stockpile of all filter soil material to be used for the Works:

Particle size distribution (PSD)

Variation in large particle sizes is flexible and an approved material does not have to be screened. However, the particle size distribution of the smaller particles (clay and silt) is a crucial element of the filter media specification and as such testing in accordance with AS1289.3.6.1 – 2009 would be required.

Filter Media

Filter media must be tested for the following:

Total Nitrogen (TN) Content – 600 - 800 mg/kg;

Orthophosphate (PO43-) Content – <55 mg/kg. Soils with total phosphorus concentrations >100 mg/kg should be tested for potential leaching. Where plants with moderate phosphorus sensitivity are to be used, total phosphorus concentrations should be <20 mg/kg;

Organic Matter Content – Between 3 and 5% (w/w).. In order to comply with both this and the TN and PO43- content requirements, a low nutrient organic matter will be required;

pH – as specified for ‘natural soils and soil blends’ 5.5 – 7.5 (pH 1:5 in water);

Electrical Conductivity (EC) – as specified for ‘natural soils and soil blends’ <1.2 dS/m;

Phosphorus – <100 mg/kg. Soils with phosphorus concentrations >100 mg/kg should be tested for potential leaching. Where plants with moderate phosphorus sensitivity are to be used, phosphorus concentrations should be <20 mg/kg; and

Saturated Hydraulic Conductivity – of potential filter media should be measured using the ASTM F1815-06 method. This test method uses a compaction method that best represents field conditions and so provides a more realistic assessment of hydraulic conductivity than other test methods.

Media that do not meet these specifications should be rejected or amended.

Optional testing:

Dispersibility – this should be carried out where it is suspected that the soil may be susceptible to structural collapse. If in doubt, then this testing should be undertaken.

Potential filter media should generally be assessed by a horticulturalist to ensure that they are capable of supporting a healthy vegetation community. This assessment should take into consideration delivery of nutrients to the system by stormwater. Any component or soil found to contain high levels of salt (as determined by EC measurements), high levels of clay or silt particles (exceeding the particle size limits set above), or any other extremes which may be considered retardant to plant growth should be rejected.

## Inspection and Hold Points for Raingardens Works

The following elements of the works will constitute hold points for the raingardens:

At the completion of drainage connection associated with the raingarden element and before backfill with soil material, which includes gravel, sand, soil and filter medium.

Placement of any soil material within the raingarden, which includes gravel, sand and soil filter material.

6

At practical completion of the raingarden elements.

CONSTRUCTION SPECIFICATION TEMPLATE

It is the contractor’s responsibility to provide a minimum of 24 hours weekdays notice (unless agreed to prior) to the superintendent to arrange for an inspection for the hold points.

No works shall proceed or be covered up under this section until the Superintendent’s representative has inspected the works. The Superintendent will reserve the right to re -open works if the Contractor fails to give reasonable notice of inspection to the Superintendent. Failure to provide sufficient notification will not result in claims for additional time or monies.

# CONCRETE WORKS

Refer to Moreland City Council standard specification CONCRETE CONSTRUCTION.

## General Requirements

Refer to Moreland City Council standard specification CONCRETE CONSTRUCTION.

## Concrete Tolerances

The Contractor shall construct concrete structures that meet the following requirements:

The invert levels of inlet and outlet pipes and inlet and outlet sills shall be within 10mm of specified.

The variation from the specified manhole shaft internal dimension shall not exceed 2%.

The variation of wall thickness shall not be less than that specified and no greater than 25 mm.

The position of the structure shall not deviate from the position indicated on the Drawings by more than 75 mm.

The variation from plumb shall not exceed 10 mm in any 3 metres or 15 mm in any 5 metres or more.

The level of the cover shall be within 5 mm of the level specified on the Drawings or as directed by the Superintendent.

## Surface Finish of Walls

The surface finish of all walls shall be Class 3C or better. If the Contractor fails to achieve the required finish, the concrete shall be repaired in accordance with the requirements of AS3600 or as directed by the Superintendent.  If directed by the Superintendent, the structure shall be rebuilt at the contractor’s expense.  Bagged mortar shall not be applied to manhole walls.

Visible edge walls and landscape features shall be Class 2 or better.

## Stepirons and Ladders

Stepirons and ladders shall be located and fixed in the structure in accordance with Melbourne Water standard drawing 7251/4/314.

Access stepirons shall be cast in situ.

All bolts shall be placed in the formwork before pouring the concrete.

Care shall be taken to ensure that stepirons remain in place and are properly aligned after pouring.

## Drainage Pits

All Drainage Pits shall be constructed in accordance with the Drawings and any relevant standard drawings belonging to the Principal.

## Access Covers

The Contractor shall prevent distortion of cast iron frames during fixing and replace any distorted cover or frame.  Cast iron covers shall be filled with N20 Grade concrete. The identification, cover locating marks and numbering pad shall be left exposed.

The covers and frames shall be cleaned and greased after completion of the section of the Works

## Concrete Placing

Refer to Moreland City Council standard specification CONCRETE CONSTRUCTION.

## Curing

Refer to Moreland City Council standard specification CONCRETE CONSTRUCTION.

## Construction Joints

Refer to Moreland City Council standard specification CONCRETE CONSTRUCTION.

## Reinforcement

Refer to Moreland City Council standard specification CONCRETE CONSTRUCTION.

6

PAVEMENT CONSTRUCTION

CONSTRUCTION SPECIFICATION TEMPLATE

Remove Section 4 if your project does not involve disturbing road pavement

## General

The road pavement, where disturbed by the works, shall be reinstated in accordance with the Drawings and Specification and to the approval of the relevant owner (e.g. Council or VicRoads).

Road reinstatement is to extend 100 mm minimum beyond both edges of the trench. Reinstatement is also required where strips of bitumen between the kerb and the reinstatement would otherwise be narrower than 600 mm.

Kerb and channels to be reinstated in accordance with the requirements of Council and VicRoads.

## Asphalt

The hot mix asphalt used for the road wearing course shall be in accordance with the requirements of Council or VicRoads.

All reinstatement works to be chased neatly into existing surface ensuring sufficient crossfall.

## Surface Markings

Long life white paint (Degador or approved similar) shall be used.

Linemarking paint for traffic lanes and parking bays must be compatible with road surfacing material and be in accordance with AS 4049.

# LANDSCAPING WORKS

## General landscaping requirements

This section of the Contract comprises the execution generally of the Landscape Works including the supply of all labour and materials as specified. The whole of the works shall be executed in strict accordance with this specification, the General Conditions of Contract, the accompanying drawings and with any working drawings furnished by the Superintendent as work proceeds, to the satisfaction of the Superintendent.

The specification and drawings represent as fully as possible the requirements and intentions of the Contract. Any other operations which may be reasonably inferred from these documents to form part of the true intent and meaning of this Contract, although not specifically stated as such, will be deemed to have been included and due allowance for their execution must be made.

This section covers the labour, materials, plant and services to carry out the operations necessary for proper performance of the landscape works as shown on the drawings and as specified herein. All works within this section shall be carried out by an approved landscape Contractor and shall include but not be limited to the following:

Supply and installation of scour protection.

Spreading of topsoil to planting areas.

Supply and installation of inorganic mulch.

Supply and installation of plants as specified.

52 week plant establishment/maintenance period.

### Setting Out

The Contractor shall be responsible for accurately setting out of the Landscape works on the site in accordance with the drawings and survey information supplied, and for checking works in progress. The Contractor shall advise the Superintendent once set out is completed and prior to proceeding with works. Should the Contractor discover any discrepancy in the drawings or on the site, they shall immediately notify the Superintendent before proceeding with the works.

### Construction

Figured dimensions shall take precedence over scale measurements and large scale drawings over small scale. Unless otherwise specified the drawings and specification shall include everything reasonable for the proper and entire completion of the work, notwithstanding any omission in the Specification or drawings.

Discrepancies between the Specification and drawings shall be verified with the Superintendent before proceeding with the particular work and failure to do so will not be taken as a reason to claim for extra work.

### Workmanship and Materials

All materials shall be new unless otherwise specified and all materials and workmanship are to be the best quality throughout and subject to the approval of Superintendent. The Contractor shall cover all materials susceptible to damage by exposure to weather at a location to the approval of the Superintendent. The Contractor shall be held responsible for any loss or damage occurring in the course of loading, unloading, transit or storage, no matter what the cause.

### Mandatory Inspection of Works

The Contractor is to notify the Superintendent at least three days in advance when each of the following phases are ready for inspection.

Failure to advise and gain an inspection of the works at the nominated stage may invalidate the works and require reconstruction to the satisfaction of the Superintendent, wholly at the cost of the Contractor:

Set out of all works.

Delivery of all plants and trees.

The Contractor is encouraged to combine inspection of one or more phases to facilitate effective management of the Contract period. The Contractor must give a minimum of three working days’ notice (or as otherwise agreed) of intended inspection dates to the Superintendent.

No works shall proceed or be covered up under this section until the Superintendent has inspected the works. The Superintendent will reserve the right to re -open works if the Contractor fails to give reasonable notice of inspection to the Superintendent.

### Samples

The Contractor is to provide the Superintendent with the samples as described in the Specification. Samples are to be approved in writing by the Superintendent before bulk orders are placed or before installation of finishes proceed.

### Standards

Unless otherwise specified in the Contract, and where applicable, materials and workmanship shall be in accordance with the relevant standards of the Standards Association of Australia.

### Current Edition

A standard application to the Works shall be the edition last published prior to the closing date for tenders unless otherwise specified.

Comply with the following standards unless otherwise specified:

AS1289:	Methods of testing soils for engineering purposes

AS4419:	Garden soils for domestic use

Site Copy:	Keep on the site a copy of AS4419

### Specified Suppliers

Obtain material from specified suppliers. Substitutions will only be considered if considered meeting or improving the technical, design, aesthetic or performance criteria of the specified product. The Principal reserves the right to reject any substitutions or alternatives offered. All conforming pricing to be based on the nominated supplier, options for alternatives must be clearly indicated along with their item and or cost saving.

## Rock Scour Protection

### Type

Rock shall be supplied to dimensions shown on the drawings or approved equivalent.  Rock for scour protection shall not be single sized but shall be a well-graded mixture designed to ensure that all interstices between larger rock are filled. The range of rocks size shall be as specified on the drawings.

### Sample

6

CONSTRUCTION SPECIFICATION TEMPLATE

Requirement: Provide samples of rock in specified sizes and colours. Place rock as instructed by Superintendent.

When the rock have been approved, all rock shall in the opinion of the Superintendent matches the sample, or otherwise be rejected.

## Timber Construction

### Scope of Work

This section covers the labour, materials, plant and services to carry out timber construction works as shown on the drawings and schedules.

### Materials and Workmanship

Design, workmanship and materials shall be the best of their respective kinds all in accordance with the requirements of AS1720, AS1684 and AS1604 and other relevant Australian Standards, including bracing, blocking, tie downs etc. Any materials rejected as unsuitable by the Superintendent shall be removed from site and replaced by the Contractor at his own expense.

Timber is to be free of loose veins. Pockets, unsound knots, knot holes, shakes, splits, termite galleries and other defects. Timber to be completely free of any defects within 200 mm of connections.

Exposed timber to be hardwood of durability grade I or II.

Timber visible in final works to be appearance grade. Ensure exposed surfaces of timber accessible to public in finished works are smooth, free of defects including shakes, splits etc and do not present a safety hazard.

Identify all timber by branding to show: stress grade, grading method, ‘seasoned’ or ‘s’. Ensure brand marks are hidden in final works.

Provide suppliers certification (or certification by an independent NATA registered inspection authority) that timber complies with specification, including moisture content, preservative treatment, etc.

Place heartwood on down side.

Install beams with natural camber upward.

Drill holes for bolts = bolts diameter plus 1 to 2 m in seasoned timber, and = bolt diameter plus 2 to 3 mm in unseasoned timber. Drill holes for coach screws as follows: holes for shank = shank diameter plus 1 mm. Hole for thread – root diameter.

Do no use scant shank bolts.

Coat nuts, bolts, washers, etc with bituminous paint/grease prior to installation in timber.

Pre-drill holes at 0.8 x nail diameter in hardwoods and areas subject to splitting.

Provide washers under head and nut of bolts:

M10 bolt - Ø45 x 2.5 thick washers

M12 bolt - Ø55 x 3.0 thick washers

M16 bolt - Ø65 x 4.0 thick washers

M20 bolt - Ø75 x 5.0 thick washers

M24 bolt - Ø85 x 6.0 thick washers

Retighten all bolts at completion of contract and again at completion of Defects Liability Period.

### Timber Edgeboards

The Contractor shall supply and install treated pine edging to all interfaces between garden beds, gravel surfaces and grass, as indicated on the drawings and as detailed.

Timber edging, unless stated otherwise, shall be of 75 x 38 mm treated pine set on edge with the top flush with the adjoining grass area or gravel surface. All edging to be continuous, with all timber lengths butt jointed. Timber edging shall be kept vertical at all times. The edging shall be staked at 1 200 mm centres with 50 x 25 x 300 mm long stakes. Fix stakes to edge with 2 No. 70 mm galvanized flat head nails.

### Delivery Storage and Handling

Deliver, store and handle products so that damage, deterioration and loss will be prevented. Control delivery schedules to minimise long term storage on site. Store timbers on site in indoor conditions or above ground with secure impervious covers.

### Installation Particulars

Perform operations including grooving, rebating, framing, housing, beading, mitring, scribing, nailing, screwing, bolting, gluing and so on necessary to complete the works. Use timber in single lengths whenever possible and

as detailed on the drawings. If joins are necessary in locations not shown on the drawings obtain approval from the landscape architect prior to proceeding with the works.

## Metalwork

### General

Supply, fabricate and erect galvanised seats as detailed on the drawings and as described in AS 1250.

Provide sufficient fastenings of a strength, type and suitable material, compatible and matching in appearance to the components fastened.

Wherever machine screw or bolt fixing into wall anchors is required such anchors shall be expanding metal anchors installed in accordance with the manufacturer's recommendations. Ensure that each anchor grips firmly. Any anchor found to be loose shall be withdrawn and then grouted into position.

### Handling and storage

Do not damage workshop applied finishes during delivery, off-loading, stacking and erection.

### Set Out

Verify dimensions and levels for the work on site. The Contractor will allow in his tender for all set out required to carry out the Works.

### Materials and workmanship

Workmanship otherwise specified, fabricate as shown on the drawings and as described in AS 1250 unless otherwise specified.

Where work is exposed to view and forms part of the Landscape Architectural treatment, give special attention to the finish.  Shearing, flame cutting and chipping shall be done carefully and accurately, sharp corners and rough edges shall be faired by grinding or other approved means, and where noted on the drawings, welds shall be made smooth to approval.

### Fabrication

Unless otherwise specified, fabricate as shown on the drawings and as described in AS 1250.

Cut edges, drilled holes and flat sheets should be clean, neat, free from burrs and indentations. Remove sharp edges without excessive radiusing. Fit mitres joints accurately to a fine hairline.

Carry out and complete fabrication and all welding in the workshop.  Site operations where necessary shall be placed in positions of easy access.  Site welds shall be located where possible in positions for down hand welding. All welds shall be of structural grade.  Electrode to be no less than 6 mm continuous fillet unless noted otherwise.

Remove all foreign matter, scale, weld splatter, etc, and grind welds smooth before applying surface treatments specified.  Do not weld short lengths together to make up required member lengths without first obtaining approval.

Assemble and connect components as shown on the drawings so that they withstand twisting, warping, bending or overstressing during transport and handling. Provide temporary braces where necessary to prevent damage.

Holes shall be 2 mm larger than the nominal diameter of the bolt or rivet unless otherwise specified. Drill holes and shop fix cleats, lugs, ties and other fixings necessary before applying protective coatings.

### Erection

Erect, fix, adjust and maintain all members in their intended vertical and lateral alignment and level.  Make good damaged steelwork before erection, as directed by the Landscape Architect.

The Contractor shall allow in his tender for all necessary cranage, means of hoisting, scaffolds, temporary bracing, etc. for the erection of the various components and to carry out the works in a safe manner.

### Bedding and grouting

Unless otherwise specified or shown on the drawings, grout supports as described in AS 1250.

Grout shall be 1:2 cement:sand mortar or approved proprietary flowable non-shrink grout. Place grout by ramming or under pressure. Grout shall have a minimum compressive strength of 30 MPa at 28 days.

### Fastenings

6

CONSTRUCTION SPECIFICATION TEMPLATE

Unless otherwise specified use commercial bolts and nuts complying with AS 1111 and fitted with appropriate washers. Masonry anchors shall be of the patent expansion type of approved manufacture. All holes shall be 2 mm larger than the nominal bolt diameter unless noted otherwise. All bolts shall be galvanised unless noted otherwise.

### Welding

Welding shall comply with AS 1554 and AS 1250. Use building techniques and procedures such that residual stresses in the structure do not exceed the values given in AS 1250.

Welders shall be passed the relevant tests specified in AS 1554 and possess the appropriate certificate specified therein.

All shop and site welds that are exposed are to be ground smooth.

### Protective Coatings

All steel components and fixings (including nuts, screws, bolts, washers etc) exposed in its final location to be hot dipped galvanised prior to being delivered to site in accordance to AS 1650.

Fabrication, surface preparation, galvanising, transport and storage shall be in accordance with requirements of AS 1650 and ‘Hot Dip Galvanising’ produced by the Galvanisers Association of Australia.

## Bluestone Pitchers Edging & Steps

### Type

Recycled Bluestone Pitchers to be reused from demolition works for this project or sourced from Council depot.  If none are available through these means then recycled Bluestone pitchers are to be purchased from a supplier.

All Recycled Bluestone Pitchers to be clean and have any existing asphalt, mortar or concrete removed from their surface.

### Sample

Requirement: Provide samples of bluestone to the Superintendent for approval prior to bulk ordering.

5.5.3	Installation

Bluestone pitchers to be butted together on a minimum 75mm stiff concrete pad and treated crushed rock sub-base.  Joints to be filled with a mix grout of; 16% cement, 67% blended washed sand, 16% stonedust and 1% lime, “Readymix Bluestone Grout” or equivalent.

## Fencing & Bollards

### Type

TIMBER BOLLARDS: To be seasoned 125 x 125mm class 1 or 2 hardwood, 1000mm above ground.  Bollard to be secured minimum 500mm below ground in min. 25Mpa concrete sleeve. All exposed edges to be chamfered. Maximum spacing of bollards to be 1400mm.

Application of protective coating or paint to be confirmed with Superintendent.

TIMBER POST AND RAIL FENCE: To be constructed in accordance with the drawings and Section 5.3of this Specification.

GALVANISED RAIL: Singular 90mm diam. hot dipped galvanised steel pipe rail to be secured between timber bollards (refer above).   All ends of pipe to be finished inside timber with no exposure to public. All fixings to be hot dipped galvanised steel.

TENSIONED STAINLESS STEEL WIRE: To be used as a barrier where fall height exceeds 1000mm.  Contractor to supply and install all materials to meet

BCA regulations for steel balustrade.  Maximum space between strands to be 125mm.  Gauge of wire strand, tensioning system and tension level to be determined by the Contractor.  Contractor to supply marine grade stainless steel in coastal applications.

### Sample

Requirement: Provide samples of:

One timber bollard –prior to bulk ordering,

Stainless steel wire and swaged terminal – prior to bulk ordering.

### Installation

Bollards and posts for rails to be secured minimum 500mm below ground in 25Mpa concrete sleeve.  Post depths for posts supporting tensioned wire balustrade will need to be designed with reference to the soil type/ geotechnical advice and the amount of tension required for the wires.  It is the Contractors responsibility to ensure sufficient depth and type of footing to meet BCA regulations.

## Garden Bed Preparation

Remove this section if project contains no edge planting or garden beds

### General

These works include the preparation of garden bed areas by cultivation, application of gypsum, and supply and installation of approved topsoil and mulch as detailed on the drawings.

### Sub-soil Preparation

Remove all weeds, roots, builder's rubbish and other debris.

Contractor is to accurately locate, prior to commencement of cultivation, all in-ground services and ensure that these are not disturbed during cultivation.

Cultivate to the required depths outside of the tree protection zone.

Do not disturb services or tree roots; if necessary cultivate these areas by hand. If large roots are encountered all work should cease and the superintendent should be notified immediately. It may be deemed necessary to have an arborist inspect the  work. During cultivation, thoroughly mix in any materials required to be incorporated into the subsoil. Cultivate manually within 300 mm of paths or structures. Remove stones exceeding 25 mm, clods of earth exceeding 50 mm, and any weeds, rubbish or other deleterious material brought to the surface during cultivation. Trim the surface to the required design levels after cultivation.

### Cultivation Depths

Cultivate the subsoil to the following typical depths

Grassed areas (seeded, turf, strip turf, stolonized): 75 mm

Planting areas: 200 mm.

### Topsoil Definitions

Site topsoil: Is defined as soil excavated from the site which:

Contains organic matter;

Supports plant life;

Is free from unwanted matter such as:

6

stones over 25 mm diameter;

CONSTRUCTION SPECIFICATION TEMPLATE

clay lumps;

weeds and tree roots;

sticks and rubbish;

material toxic to plants;

is approved by the Superintendent for reuse on site as topsoil;

Topsoil mixture: Topsoil and compost or other additives, thoroughly mixed before placing;

Top dressing: Coarse or medium soil to AS 2223 clause 4, suitable for application to turf or grass areas;

Soil textures: Use topsoils described by the following terms (or their equivalents) which comply generally with the texture classifications and typical uses of AS 2223 Table B2;

Fine (loam, silt, clay loam);

Medium (sandy loam); and

Coarse (sandy soil).

Table 3 Topsoil particle size schedule (% passing by mass)

| AS SIEVE APERTURE | SOIL TEXTURES |  |  |
| --- | --- | --- | --- |
|  | FINE | MEDIUM | COARSE |
| 2.36 | 100 | 100 | 100 |
| 1.18 | 90 - 100 | 95 - 100 | 95 - 100 |
| 0.60 | 75 - 100 | 75 - 100 | 70 - 90 |
| 0.30 | 57 - 90 | 55 - 85 | 30 - 46 |
| 0.15 | 45 - 70 | 38 - 55 | 10 - 22 |
| 0.075 | 35 - 55 | 25 - 35 | 5 - 10 |
| 0.002 |  | 2 - 15 | 2 - 8 |

Table 4 Topsoil Properties Schedule

| PROPERTY | TYPE | AMOUNT |
| --- | --- | --- |
| Nutrient levels | Phosphorus (P) (mg/L) | 0.7 - 4 |
|  | Potassium (K) (mg/L) | 35 - 250 |
|  | Sulfur (S) (mg/L) | greater than 40 |
|  | Calcium (Ca) (mg/L) | 50 - 350 |
|  | Nitrogen (N) (mg/L) | 100 or less |
|  | Manganese (Mn) (mg/L) | 1 - 15 |
| Additives | Gypsum (% by volume) |  |
|  | Compost |  |
| Other properties | Organic matter (% by mass) | 20 |
|  | Soil reaction | pH 6.7 |
|  | Soluble salts (% by mass) | 0.1 |
|  | Moisture content (% by mass) |  |
|  | Toxicity index to AS 3743 |  |

### Source

Re-use existing site topsoil where the existing soil matches the specification requirements - provide additives such as compost where possible to modify existing soil to ensure compliance with the specification. Import topsoil from an approved off-site source where the site topsoil is not able to meet the specification requirements.

### Additives

Topsoil raised to the standard of the appropriate type by the use of additives may be used subject to compliance with the relevant test criteria.

### Topsoil Mixture

Where indicated use a topsoil mixture comprising two parts by volume of topsoil type medium, one part coarse soil type and one part of compost as specified, all thoroughly mixed.

### Topsoil Stockpiles

Stockpile site topsoil approved for reuse, and imported topsoil where necessary, before placing. Establish stockpiles to sizes and in locations as directed. Provide adequate drainage and aeration.  Do not burn off or remove plant growth which may occur during storage. Do not allow traffic on stockpiles. If a stockpile is to remain for more than four weeks, sow with temporary grass.

### Topsoil Tests

Provide tests for site topsoil taking soil samples as recommended in AS 2223 Appendix A, and test to the methods in AS 2223 clause 3, or AS 3743, as applicable. Test imported topsoils and submit for approval at least five working days in advance of carting, test results stating sieve analysis, organic matter, salt content and pH.

### Topsoil Locations

The following types of topsoil shall be placed as shown:

Grassed areas:	Medium

Planting areas:	Medium

### Placing Topsoil

Contamination: Where diesel oil, cement or other phytotoxic material has been spilt on the subsoil or topsoil, excavate the contaminated soil, dispose of it off the site, and replace it with site soil or imported topsoil, as directed, to restore design levels.

Placing: Place the appropriate topsoil on the prepared subsoil to the depths shown on drawing. Spread and grade evenly making the necessary allowances so that the required finished levels and contours shall be achieved after light compaction; and grassed areas shall be finished flush with adjacent hard surfaces such as kerbs, paths and mowing strips, where so required.

Spreading: On steep batters the spreading may be by means of a chain drag, provided there is no danger of batter disturbance.

Compaction: Prevent areas of excess compaction from being caused by constructional plant. Compact lightly and uniformly in 150 mm layers and avoid differential subsidence. Produce a finished topsoil surface which is:

At design levels; allowing for thickness of mulch where specified;

Smooth and free from stones or lumps of soil;

Graded to drain freely, without ponding, to catchment points; and

Graded evenly into adjoining ground surfaces.

The Contractor is to supply a sample of the imported topsoil to the Superintendent for approval prior to purchasing bulk amount.

Where imported soil and site topsoil are used on the site, rough mixing of the two shall be carried out prior to final placement and grading.

Topsoil depths as referred to on the drawings and details refer to consolidated/compacted depths.

### Compost

6

CONSTRUCTION SPECIFICATION TEMPLATE

Description: Well rotted vegetative material or animal manure, or other approved material, free from harmful chemicals, grass and weed growth, and with a neutral pH value. Provide a certificate of proof of compost pH value.

Incorporate compost with topsoil, where so required, by mixing thoroughly at the specified proportions.

### Mulch

GENERALLY: Use mulch that is free of deleterious and extraneous matter such as soil, weeds and sticks. Mulch may be organic timber mulch or inorganic mulch to match that used in the body of the rain garden.

APPLICATION: Place mulch to required depth, clear of plant stems, and rake to an even surface flush with the surrounding finished levels.

ORGANIC TIMBER MULCH: Nominal 12-20 mm size pinebark mulch or as shown on the drawings or selected by the Superintendent.

NATURAL STONE AGGREGATE MULCH: Nominal 10- 20 mm size with no fines. Stone type to be as shown on the drawings or selected by the Superintendent.

RECYCLED BRICK MULCH: Nominal 15- 20 mm diameter recycled brick. Brick mulch to be free of any fines prior to application.

SAMPLE: The Contractor is to provide a sample of all mulch types, as specified in the SAMPLES SCHEDULE to the Superintendent prior to delivery to site.

### Final Grading

Garden beds shall be finished to give a gentle crowned appearance to ensure positive drainage or to conform with levels indicated on the drawing and shall finish flush with paved surfaces and kerbs. Finished levels of mulch shall be at least 50 mm below weepholes and/or damp proof courses and grade evenly towards grated pits and other drainage structures.

Provide gentle transition zones at toes of batters and embankments.

These should be gently rolling in appearance rather than having a sharp angled profile.

Grade lawn areas evenly or to conform with levels indicated on the drawing.

## Shrub & Groundcover Planting

Remove this section if the project is for tree pits only.

### General

The Contractor shall provide plant material from an approved nursery/ supplier, fertilisers, stakes and labour to plant out the garden beds as set out and scheduled on the drawings. The size of the plant material covered in this section includes cells, tubestock, 100 mm, 150 mm and 200 mm diam. pots.

### Plant Material

All plant material shall be obtained from an approved nursery/supplier where plants are exposed and have been hardened off in the open. Plants are to be healthy, well-grown specimens, free of pest, injury and diseases.

The Contractor shall confirm the availability of the stated species and shall contact the Superintendent should there be any difficulty in securing all the plants for the project. Where indigenous planting is used plants of local provenance should be used. Prior to planting, the plants shall be cared for adequately to the satisfaction of the Superintendent. Superintendent is to inspect and approve trees prior to the Contractor taking delivery. Plants are to be delivered to site in such a manner as to prevent damage in transit.

### Setting Out

The Contractor shall set out the plant material in accordance with the planting plan and obtain the on-site approval, of the Landscape Architect prior to planting.

Planting in large areas may be staged to ensure plants are not on site, in containers for longer than 24 hours.

### Planting Conditions

Planting shall not be carried out if the soil is very wet and waterlogged, or during periods of adverse or extreme weather or windy conditions.

Where possible the Contractor shall install plants directly in place, immediately after delivery to site and store other materials in a secure location on site. If plant material cannot be installed immediately after delivery, the trees must be heeled in or covered with moist soil or hessian or as directed by the Superintendent.

It is the Contractors responsibility to adequately protect and maintain vegetative material against any adverse or damaging climatic conditions before and during the planting procedure.

### Planting Procedure for Shrubs & Groundcovers

Thoroughly soak the plant before planting.

Over excavate each plant hole by at least twice the pot diameter. If the soil is very dry, fill with water and allow to drain completely.

All fertilisers shall be delivered to the site in sealed bags, labelled with the type and manufacturer's name. All fertilisers shall be applied in strict accordance with manufacturer's instructions. Place the fertiliser in the bottom of the hole and cover with soil to ensure there is no contact between the roots and fertiliser.

Fertiliser shall be an approved prolonged release type such as 'Osmocote Total All Purpose' by Scotts or approved equivalent with an N:P:K ratio of 19.4 : 1.6 : 5 applied at the rate specified by the manufacturer. For native plants use 'Osmocote Native Garden' by Scotts or approved equivalent with an N:P:K ratio of 17.9 : 0.8 : 7.3.

Place the plant into the hole and backfill with approved soil free from weeds, stones, clods of sub soil and other extraneous matter.

Plants are to be set plumb and level with the adjacent soil – ensure no soil is placed against the stem of the root crown.

Gently apply pressure by hand for smaller tubestock planting to ensure contact with soil and roots is made.

Form a watering ‘bowl’ around the plant.

Thoroughly water in plants, with a minimum of 5 litres of water for each plant.

## Semi Advanced Tree Planting

    - Presentation Criteria

Contractor to ensure that all advanced tree stock must be free of pests and pathogens, free of scarring, damaged leaders, abrasions of the bark, disfigured knots or fresh cuts of limbs that have not been callused. Advanced trees to show a vigorous central leader, open branching framework and well formed open ‘V’ limb crotches.

All limbs and trunks to be well formed, sturdy and well rooted. All dead wood and branches are to be removed.

The Contractor is to ensure that the trees are true to species and size specified on the drawings and in the schedule. The Superintendent is to inspect and approve all trees prior to the Contractor placing deposits with the Nursery. The Contractor must provide the Superintendent with three

(3) days notice to inspect the trees. The Superintendent has the right to reject any trees and request that alternate trees be sourced.

### Planting Hole

The Contractor is to observe proper precautions so as not to disturb or damage sub-surface conditions. Before doing any excavation the Contractor is to ascertain location of existing underground services. In the event such are uncovered, the Contractor is to promptly notify the Superintendent to enable the relocation of plant material.

The Contractor is to confirm location of trees prior to excavation of tree holes. The tree planting holes must be prepared in fine weather only to avoid damage to the soil structure.  The holes are to be free from glazing and clay sides. If glazing occurs, the Contractor is to loosen the affected soil with spade or other hand tool.  Excess spoil must be disposed of from the site.

Contractor to dig the hole to sufficient size, approximately 2.5-3 times the width of the rootball with angled sides. The Contractor is to ensure that the tree hole is only as deep as the rootball, so that the top of the root ball is flush with finished surface level.  Contractor must ensure that the tree hole is not over excavated as this will cause saturation at the base.

If the Contractor encounters any soil or drainage conditions which may be detrimental to the growth of the plant material, the Contractor must notify the Superintendent and discontinue any tree hole excavation works until the Superintendent has inspected the soil or drainage condition.

### Fertiliser

Place 50 grams of approved slow release fertiliser, around base of advanced trees or mix thoroughly with broken up backfill soil.

### Planting

No advanced trees are to be stored on site. The advanced trees are to be handled carefully to ensure that no damage to limbs, bark or rootball occurs. If damage does occur, the Contractor must replace the damaged tree at their own expense. The rootball must rest gently on the base of the hole and be supported during backfilling. The tree must be located centrally in the hole and in a vertical upright position. Plant is to be set plumb and level with adjacent soil, with no soil placed against the stem of the root crown.

6

CONSTRUCTION SPECIFICATION TEMPLATE

Backfilling

Backfill hole using prepared backfill mix of equal volumes of soil from the hole, compacted organic matter and sand. Care is to be taken to mix the fill thoroughly.  Contractor to ensure a pH level of 5.5 to 7.0 is maintained in the fill mix. Gently cover the roots with backfill material in layers of 150mm and slightly compacted around the perimeter of the hole to ensure there are no air pockets and that all root ends bend downwards.  Ensure roots are not pressed against the bottom of the hole by backfilling too quickly or using lumpy soil. Contractor to firm the soil gently to a level approximately 30mm below the surrounding soil surface level to create a ‘watering bowl’.

### Watering

Contractor to thoroughly water trees with a minimum of 10 litres of clean recycled or dam water immediately after planting, and at such times during the contract period as required to maintain growth, free from water stress. Any signs of water stress (leaf drop or yellowing) should be reported to the Superintendent for further investigation.

### Mulching

After the placement and planting out of the plant material in all garden beds, the Landscape Contractor will supply and spread the specified mulch type to an average depth of 75mm. The mulch shall be free from soil clods, rocks and all other non organic matter.  The Contractor is to submit a sample of the mulch to be used to the Superintendent for approval prior to delivery of mulch to site.

Mulch to finish level with surrounding pavement levels after settlement allowances of the top soil and mulch. Contractor is to keep mulch away from the trunks to avoid rotting at ground level.

In lawn areas the mulch shall be placed after formation of the 'water bowl', to an area of approximately 0.5 metre radius from the centre of the tree.

### Staking & Tying

Hardwood stakes, as per details to be installed immediately after planting. Stakes are to be driven 600mm into the ground or deep enough to ensure that the stake will remain stable and vertical and at the same height above ground level throughout. Tie tree to stakes using "figure eight" ties of canvas or Velcro or approved equivalent. Contractor to provide a sample of the tree tie to be used prior to ordering. The ties are to be no further than one-third the height of the tree, from the base of the trunk. Stakes and ties are to be inspected by the Superintendent on completion of these works. Stakes and ties to be matt black in colour. Refer to the drawings for details.

## Raingarden Mulch

### General

Use an inorganic mulch that is free of deleterious and extraneous matter such as soil, weeds and sticks

### Application

Place mulch to required depth, clear of plant stems, and rake to an even surface flush with the surrounding finished levels.

NATURAL STONE AGGREGATE MULCH: Nominal 10- 20 mm size with no fines. Stone type to be as shown on the drawings or selected by the Superintendent.

RECYCLED BRICK MULCH: Nominal 15- 20 mm diameter recycled brick. Brick mulch to be free of any fines prior to application.

SAMPLE: The Contractor is to provide a sample of all mulch types, as specified in the SAMPLES SCHEDULE to the Superintendent prior to delivery to site.

## Landscape Establishment / Maintenance

### General

The defects liability period shall cover all hard, soft and irrigation landscape works for a period of 52 weeks and synchronous with the plant establishment/maintenance period. The synchronous Landscape Establishment / Maintenance period will be for 52 weeks from the date of Practical Completion.

The Contractor is responsible for the satisfactory maintenance of all Landscape Works and parts thereof for the duration of the maintenance establishment period until the issuance of the Final Completion Certificate. Practical Completion of the planting works shall include but not be limited to replacement of plants which have failed or been damaged or stolen during the work under the Contract.

Maintenance shall mean the care and maintenance of the contract area by accepted horticultural practices, as well as rectifying any defects that may become apparent in the works under normal use.

The Landscape Contractor is advised to maintain all insurances during the Maintenance Period.

### Period Commencement

The planting establishment period shall commence from the Date of Practical Completion of the Works or from the Date of Practical Completion of the planting works (hereby specified to be a separable part of the Works), whichever is the later.

### Practical Completion

Practical completion of the soft landscape works includes, but is not limited to, the complete germination of grassed areas, establishment of turfed areas, and replacement of plants which have failed, been damaged or been stolen during the works.

Grassed areas are required to be properly established with an even dense grass sward and to have been mown at least once before they are accepted as having reached a stage of Practical Completion.

The Landscape Contractor shall request an inspection of the works by the Superintendent for granting of Practical Completion. Minimum notice of seven days is to be given before the requested date for the Practical Completion inspection. The Landscape Architect shall inspect the works and if any defects or deficiencies are found they shall be rectified within 14 days.

Before requesting the inspection of the works, the Landscape Contractor shall ensure that all works of the Contract are complete.

The date of Practical Completion shall be the date of acceptance of the works as Practically Complete by the Superintendent.

### 5.11.4	Program

Furnish a proposed planting maintenance program, and amend it as required by the Superintendent. Comply with the amended program.

### Log Book

Keep a log book recording when and what maintenance work has been done and what materials, including toxic materials, have been used. Make the log book available for inspection on request.

### Existing Planting and Grass

Where existing planting or grass is within the landscape contract area, maintain it as for the corresponding classifications of new grassland or planting.

### Recurrent Works

Throughout the planting establishment period, continue to carry out recurrent works of a maintenance nature including, but not limited to, watering, mowing, weeding, rubbish removal, fertilising, pest and disease control, reseeding, returfing, staking and tying, replanting, cultivating, pruning, hedge clipping, aerating, renovating, top dressing, and keeping the site neat and tidy.

### Grass Areas

Commence grass maintenance works at the completion of sowing, hydroseeding, turfing and the like, and continue to carry out grass maintenance throughout the contract and planting establishment period, maintaining healthy weed free growth and mowed as required to maintain the grass height between 50 – 100 mm.

### Garden Beds

Continue to replace failed, damaged or stolen plants.  The cost for replacement of plants which fail as a result of poor nursery stock or poor horticultural practices shall be borne by the Landscape Contractor.  All garden beds to be kept free from weeds and rubbish at all times.

### Mulched Surfaces

Maintain the surface in a clean and tidy condition, free from weeds and reinstate the mulch as necessary to maintain the specified depth.

### Stakes and Ties

6

CONSTRUCTION SPECIFICATION TEMPLATE

Adjust, straighten or replace as required. Remove those not required at the end of the planting establishment period.

### Watering

Grassed and planted areas are to be watered to maintain a healthy condition and stress free growth. The Landscape Contractor shall be responsible for provision of appropriate temporary water supply if necessary to meet these requirements.

Where an irrigation system exists, the Landscape Contractor shall be responsible for the programming and management of the system and shall ensure that adequate watering is provided to the landscape whilst taking care to ensure that such areas are not over watered.

### Final Completion

The Contractor shall ensure that all works of the Contract are complete immediately prior to the expiry date of the Contract time. The Contractor shall remove all debris from the site and any material he may have stored on or adjacent to the site and leave the area tidy to the satisfaction of the Superintendent.

Grass areas shall have a healthy and vigorous grass sward appropriate to the area and trees and shrubs shall show signs of healthy vigorous growth.

## Sample Schedule

The following items are to be inspected by the Superintendent prior to site delivery. Where testing of the items are indicated within the specification, the Contractor is to supply the Superintendent with a copy of the report prior to the inspection.

Bioretention Materials:

Mulch;

Filter Media;

Drainage Layer;

Landscape Materials:

Mulch;

Rock Materials for Scour Protection;

Topsoil; and

Compost.

# CLEAN UP AND SITE RESTORATION

## Surface Restoration

The Contractor must make permanent repairs to the unpaved off- carriageway surfaces, including nature strips, make temporary repairs to the paved surfaces (or final repairs to the requirements of Council or

VicRoads) and leave the surfaces in a safe condition, unless with the written permission of the property owner, council or other authority having care, management or control of any thoroughfare.

The Contractor shall after the removal of all debris, surplus material, temporary works and construction plant restore the Site and all other areas utilised by it by filling, shaping, or levelling to a stable, free draining state.

Unless a clearance is obtained from the relevant authority, the Contractor must maintain any temporary repairs to paved surfaces until a permanent repair is done.

The Contractor must pay all costs associated with maintenance and temporary and permanent restoration.

## Surface Works

The Contractor must grade the final surrounding surface to suit the level of all surface structures and fittings and ensure that there are no low lying areas and that the site is free draining.

## Cleaning Up

The Contractor must remove all surplus materials from the site and any other area used by the contractor for the Works.

The Contractor must leave the site and other areas clean and tidy as determined by the superintendent.

The materials and rubbish removed from the Site or other areas used by the Contractor must be disposed of lawfully

FAWB, 2009 - Facility for Advancing Water Biofiltration Guidelines available http://www.monash.edu.au/fawb/ products/fawb-filter-media-guidelines-v3-june-2009.pdf